## data_and_report
Data | Identification | Testdata | [7 empty] | Repeatability
| Replicates | Concentration | Response |  |  | Response |  |  |  | Mean | SD | RSD (%)
Level 1 | 6 | 0.5 | 33.4216 | 33.1526 | 33.1417 | 33.4216 | 33.1526 | 33.1417 |  | 33.2386 | 0.15855 | 0.477
| Measurement no. |  | 1 | 8 | 15 | 22 | 29 | 36
Level 2 | 6 | 2 | 40.3116 | 40.3116 | 40.3116 | 40.3237 | 40.3116 | 40.2778 |  | 40.3116 | 0 | 0
| Measurement no. |  | 2 | 9 | 16 | 23 | 30 | 37
Level 3 | 6 | 5 | 45.0499 | 45.0188 | 0 | 45 | 45 | 45 |  | 30.0229 | 26.0006 | 86.6026
| Measurement no. |  | 3 | 10 | 17 | 24 | 31 | 38
Level 4 | 6 | 10 | 49.7796 | 49.7945 | 0 | 49.8 | 49.7945 | 49.7723 |  | 33.1914 | 28.7446 | 86.6025
| Measurement no. |  | 4 | 11 | 18 | 25 | 32 | 39
Level 5 | 6 | 20 | 50.7723 | 51.7723 | 52.7723 | 53.7723 | 54.7723 | 55.7723 |  | 51.7723 | 1 | 1.9315
| Measurement no. |  | 5 | 12 | 10 | 26 | 33 | 40
Level 6 | 6 | 50 | 40.3116 | 40.3116 | 40.3116 | 40.3 | 0 | 0 |  | 40.3116 | 0 | 0
| 100 |  | 6 | 13 | 20 | 27 | 34 | 41
Level 7 | 6 | 75 | 49.7945 | 49.7945 | 23 | 49.8 | 49.8 | 49.8 |  | 40.863 | 15.4698 | 37.8577
| 100 |  | 7 | 14 | 21 | 28 | 35 | 42
ª
Number of Meas. | 242 | Unit | 7: Areal
|  | mg/mL | 28: Test for linearity: residual variance oflinear model versus quadratic model | #REF!
Confidence Intervals (+/-)
|  | Standard dev. | 7: 95%; 14: 99%; 28: Estimated Y-value for X=0
Slope | -0.012093 | #VALUE! | #VALUE! | #VALUE! |  | X | Est. Y | 95 % conf. Interval
Intercept | 39.7418 | #VALUE! | #VALUE! | #VALUE! |  | 0 | 39.7418 | #VALUE! | #VALUE!
R^2 | #VALUE! | [8 empty] | 99 % conf interval
R | #VALUE! |  | 28: Estimated X-value for Y=0 |  | #VALUE! | #VALUE!
Significance of regression |  | Propability that slope is 0 | 28: Y; 35: Est. X; 42: 95 % conf. Interval
F-test | #VALUE! | #VALUE! | 28: 0; 35: 3417.4678; 42: #VALUE! | #VALUE!
Based on: | Slope |  | 7: Lowest standard; 21: * |  | 99 % conf interval
LOQ = | #VALUE! | Unit | 0.02385 | Unit | Criterium: Signal = |  | 10 | *Noise |  | #VALUE! | #VALUE!
LOD = | #VALUE! | Unit | 0.0078705 | Unit | Criterium: Signal = |  | 3.3 | *Noise

## Residual plots
Uvægtede residualplot | Vægtede residualplot (vægtede med koncentrationen)

## Measured data
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
1 | 327000 | 327000 | 6 | -28115903.666 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| 327000 |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
327000
327000
327000
327000
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Datapunkt | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval
|  | #DIV/0! | 0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## InterDay
Intermdediate Reproducibilitry, Inter Day |  |  |  | We assume that the standard deviations for each Control sample is the samer Iter Day
Control 1 | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval |  |  | Sd | N
| 32.4216 | 32.9053 | 3 | 587.8816 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 36.0247 | 3 | 629.4758
| 33.1526 |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 566.6158
| 33.1417 | [10 empty] | 567.5531
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
| Is Control 1 and Control 2 significantly different ? |  |  |  | t value | t-crit 95 % | Dif 95 % | F-crit 99 % | Dif 99 % | DF numer | s-poled
[5 empty] | 24.8523 | 2.7764 | Yes | 4.6041 | Yes | 4 | 51.2875
Control 2 | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval |  |  | Sd | N
| 45.0499 | 45.0078 | 3 | -452.8343 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 4.1744 | 3 | -456.4545
| 45.0188 |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | -453.7802
| 44.9547 | [10 empty] | -448.2681
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
| Is Control 1 and Control 2 significantly different ? |  |  |  | t value | t-crit 95 % | Dif 95 % | F-crit 99 % | Dif 99 % | DF numer | s-poled
[5 empty] | 1.306 | 2.7764 | No | 4.6041 | No | 4 | 424.6474
|  |  |  | Est. X | 95 % konf. Interval
Control 3 | Målte data | Middelværdi | replikater | -1330.0166 | #VALUE! | #VALUE! | 99 % konf interval |  |  | Sd | N
| 57.2007 | 55.2086 | 3 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 300.2421 | 3 | -1501.3238
| 57.248 | [5 empty] | #VALUE! | #VALUE! |  |  |  | -1505.3912
| 51.177 | [10 empty] | -983.3349
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
Vægtede residualer

## Control of Calibration
Data | Identification = | Testdata |  |  |  |  | Repeatability
| Replikater | Koncentration | Response |  |  |  | Mean | SD | RSD (%)
Control1 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Måling nr. |  | 1 | 2 | 3
Control2 | 3 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Måling nr. |  | 4 | 5 | 6
Control3 | 3 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Måling nr. |  | 7 | 8 | 9
Number of measurements | 6 | Conc. Unit | Area
|  |  | Confidence intervals(+/-) |  |  | Using this: | 0
|  | Standard dev. | 95% | 99% |  | Response factor=
Slope | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Not using control
Intercept | #DIV/0! | #VALUE! | #VALUE! | #VALUE! |  | Bruge (1=ja, 0=nej)
R^2 | #VALUE! |  |  |  |  | 0
R | #VALUE! |  |  |  |  | Slope to use = |  | -0.012093
Significance of regression |  | Propability that slope is 0
F-test | #DIV/0! | #DIV/0!
| Slope |  | Lowest standard |  | *
LOQ = | #DIV/0! | mg/L | #DIV/0! | mg/L | Criterium: Signal = |  | 10 | *Noise
LOD = | #DIV/0! | mg/L | #DIV/0! | mg/L | Criterium: Signal = |  | 3.3 | *Noise
Kontrol af Kalibrering | [14 empty] | Vægtede residualer
X | X^2 | Y | Y^2 | X*Y | X-<X> | (X-<X>)^2 | Y-<Y> | (Y-<Y>)^2 | Y estd | Ye-<Y> | (Ye-<Y>)^2 | Residualer | Res^2 | Måling nr. | ResV
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 2 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 3 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 4 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 5 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 6 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 7 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 8 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 9 | #DIV/0!
0 |  | 0 |  | 0 |  |  |  |  | #DIV/0!
9 | [6 empty] | kXstart = | 0
kdfree = | 7 | ktval_95 | 2.8412 |  |  |  | kXstop = | 0
kS_xy = | 0 | ktval_99 | 4.0293 |  |  |  | X_detail | Nedre 95% konfidens interval | Øvre 95% konfidens interval | Nedre 99% konfidens interval | Øvre 99% konfidens interval
kS_xx = | 0 | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kS_yy = | 0 | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kS_yyestd = | #DIV/0! | = kMS_reg |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kSumSquares = | #DIV/0! | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kSsquare = | #DIV/0! | ksqrtsquare = | #DIV/0! |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
ksvalue | #DIV/0! | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kSumxsquare | 0 | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kSumysquare | 0 | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kGværdi (95%) | #DIV/0! | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kGværdi (99%) | #DIV/0! | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Tekster til legend i plot | [6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Målte data | [6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Lineær regression | [6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Meandata | [6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
<X> | <Y> | Std_exp |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | #DIV/0! |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | #DIV/0! |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | #DIV/0! |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Formulas_and_calculations
Temp. Data, don't mess with these | [8 empty] | Weighted residuals
X | Y | X*X | X*Y | X-<X> | Y-<Y> | Y estd | Ye-<Y> | Residualer | Måling nr. | ResW
0.5 | $ | 0.25 | #VALUE! | -22.7143 | #VALUE! | 39.736 | 0.26414 | #VALUE! | 1 | #VALUE!
2 | 40.3116 | 4 | 80.6232 | -21.2143 | 0.83978 | 39.7185 | 0.2467 | 0.59307 | 2 | 0.29654
5 | 45.0499 | 25 | 225.2495 | -18.2143 | 5.5781 | 39.6836 | 0.21181 | 5.3663 | 3 | 1.0733
10 | 49.7796 | 100 | 497.796 | -13.2143 | 10.3078 | 39.6255 | 0.15367 | 10.1541 | 4 | 1.0154
20 | 50.7723 | 400 | 1015.446 | -3.2143 | 11.3005 | 39.5092 | 0.037379 | 11.2631 | 5 | 0.56315
50 | 40.3116 | 2500 | 2015.58 | 26.7857 | 0.83978 | 39.1603 | -0.31149 | 1.1513 | 6 | 0.023025
75 | 49.7945 | 5625 | 3734.5875 | 51.7857 | 10.3227 | 38.8696 | -0.60222 | 10.9249 | 7 | 0.14567
0.5 | 33.1526 | 0.25 | 16.5763 | -22.7143 | -6.3192 | 39.736 | 0.26414 | -6.5834 | 8 | -13.1667
2 | 40.3116 | 4 | 80.6232 | -21.2143 | 0.83978 | 39.7185 | 0.2467 | 0.59307 | 9 | 0.29654
5 | 45.0188 | 25 | 225.094 | -18.2143 | 5.547 | 39.6836 | 0.21181 | 5.3352 | 10 | 1.067
10 | 49.7945 | 100 | 497.945 | -13.2143 | 10.3227 | 39.6255 | 0.15367 | 10.169 | 11 | 1.0169
20 | 51.7723 | 400 | 1035.446 | -3.2143 | 12.3005 | 39.5092 | 0.037379 | 12.2631 | 12 | 0.61315
50 | 40.3116 | 2500 | 2015.58 | 26.7857 | 0.83978 | 39.1603 | -0.31149 | 1.1513 | 0 | 0.023025
75 | 49.7945 | 5625 | 3734.5875 | 51.7857 | 10.3227 | 38.8696 | -0.60222 | 10.9249 | 13 | 0.14567
0.5 | 33.1526 | 0.25 | 16.5763 | -22.7143 | -6.3192 | 39.736 | 0.26414 | -6.5834 | 15 | -13.1667
2 | 40.3116 | 4 | 80.6232 | -21.2143 | 0.83978 | 39.7185 | 0.2467 | 0.59307 | 16 | 0.29654
5 | 45.0188 | 25 | 225.094 | -18.2143 | 5.547 | 39.6836 | 0.21181 | 5.3352 | 17 | 1.067
10 | 49.7945 | 100 | 497.945 | -13.2143 | 10.3227 | 39.6255 | 0.15367 | 10.169 | 18 | 1.0169
20 | 51.7723 | 400 | 1035.446 | -3.2143 | 12.3005 | 39.5092 | 0.037379 | 12.2631 | 10 | 0.61315
50 | 40.3116 | 2500 | 2015.58 | 26.7857 | 0.83978 | 39.1603 | -0.31149 | 1.1513 | 20 | 0.023025
75 | 49.7945 | 5625 | 3734.5875 | 51.7857 | 10.3227 | 38.8696 | -0.60222 | 10.9249 | 21 | 0.14567
0.5 | 33.1417 | 0.25 | 16.5709 | -22.7143 | -6.3301 | 39.736 | 0.26414 | -6.5943 | 22 | -13.1885
2 | 40.3116 | 4 | 80.6232 | -21.2143 | 0.83978 | 39.7185 | 0.2467 | 0.59307 | 23 | 0.29654
5 | 0 | 25 | 0 | -18.2143 | -39.4718 | 39.6836 | 0.21181 | -39.6836 | 24 | -7.9367
10 | 0 | 100 | 0 | -13.2143 | -39.4718 | 39.6255 | 0.15367 | -39.6255 | 25 | -3.9625
20 | 40.3116 | 400 | 806.232 | -3.2143 | 0.83978 | 39.5092 | 0.037379 | 0.8024 | 26 | 0.04012
50 | 23 | 2500 | 1150 | 26.7857 | -16.4718 | 39.1603 | -0.31149 | -16.1603 | 27 | -0.32321
75 | 0 | 5625 | 0 | 51.7857 | -39.4718 | 38.8696 | -0.60222 | -38.8696 | 28 | -0.51826
0.5 | 33.4216 | 0.25 | 16.7108 | -22.7143 | -6.0502 | 39.736 | 0.26414 | -6.3144 | 29 | -12.6287
2 | 40.3237 | 4 | 80.6474 | -21.2143 | 0.85188 | 39.7185 | 0.2467 | 0.60517 | 30 | 0.30259
5 | 45 | 25 | 225 | -18.2143 | 5.5282 | 39.6836 | 0.21181 | 5.3164 | 31 | 1.0633
10 | 49.8 | 100 | 498 | -13.2143 | 10.3282 | 39.6255 | 0.15367 | 10.1745 | 32 | 1.0175
20 | 53.7723 | 400 | 1075.446 | -3.2143 | 14.3005 | 39.5092 | 0.037379 | 14.2631 | 33 | 0.71315
50 | 40.3 | 2500 | 2015 | 26.7857 | 0.82818 | 39.1603 | -0.31149 | 1.1397 | 34 | 0.022793
75 | 49.8 | 5625 | 3735 | 51.7857 | 10.3282 | 38.8696 | -0.60222 | 10.9304 | 35 | 0.14574
0.5 | 33.1526 | 0.25 | 16.5763 | -22.7143 | -6.3192 | 39.736 | 0.26414 | -6.5834 | 36 | -13.1667
2 | 40.3116 | 4 | 80.6232 | -21.2143 | 0.83978 | 39.7185 | 0.2467 | 0.59307 | 37 | 0.29654
5 | 45 | 25 | 225 | -18.2143 | 5.5282 | 39.6836 | 0.21181 | 5.3164 | 38 | 1.0633
10 | 49.7945 | 100 | 497.945 | -13.2143 | 10.3227 | 39.6255 | 0.15367 | 10.169 | 39 | 1.0169
20 | 54.7723 | 400 | 1095.446 | -3.2143 | 15.3005 | 39.5092 | 0.037379 | 15.2631 | 40 | 0.76315
50 | 0 | 2500 | 0 | 26.7857 | -39.4718 | 39.1603 | -0.31149 | -39.1603 | 41 | -0.78321
75 | 49.8 | 5625 | 3735 | 51.7857 | 10.3282 | 38.8696 | -0.60222 | 10.9304 | 42 | 0.14574
23.2143 | 39.4718 | 1236.3214 | #VALUE! |  |  | 39.4718
42 |  |  | 38130.8069 |  |  |  | Xstart = | 0.5
dfree = | #VALUE! | tval_95 = | #VALUE! | Slope = | -0.011629 |  | Xstop = | 75
S_xy = | -354.2218 | tval_99 = | #VALUE! | Intercept = | 39.7482
S_xx = | 29291.5714 | [5 empty] | Confidence curves
S_yy = | #VALUE! |  |  |  | Resultat |  | X_detail | Lower 95% | Upper 95% | Lower 99%
S_yyestd = | 3.9612 | = MS_reg |  | Std slope = | #VALUE! |  | 0.5 | #VALUE! | #VALUE! | #VALUE!
SumSquares = | #VALUE! |  |  | Std intercept = | #VALUE! |  | 1.99 | #VALUE! | #VALUE! | #VALUE!
Ssquare = | #VALUE! | sqrtsquare = | #VALUE! | Std regression = | #VALUE! |  | 3.48 | #VALUE! | #VALUE! | #VALUE!
svalue | #VALUE! |  |  | R^2 = | #VALUE! |  | 4.97 | #VALUE! | #VALUE! | #VALUE!
Sumxsquare | 51925.5 |  |  | R = | #VALUE! |  | 6.46 | #VALUE! | #VALUE! | #VALUE!
Sumysquare | 72674.9707 |  |  | F value for reg. | #VALUE! |  | 7.95 | #VALUE! | #VALUE! | #VALUE!
Gværdi (95%) | #VALUE! | [5 empty] | 9.44 | #VALUE! | #VALUE! | #VALUE! |  |  |  | second order fit
Gværdi (99%) | #VALUE! | [5 empty] | 10.93 | #VALUE! | #VALUE! | #VALUE! | Upper 99% |  |  |  | Resultat
[7 empty] | 12.42 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE!
Text for legend in plot | [6 empty] | 13.91 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | R^2 = | #VALUE!
Measured Data | [6 empty] | 15.4 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Ssquare = | #VALUE! | sqrtsquare = | #VALUE!
Linear regression | [6 empty] | 16.89 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | F value for reg. | #VALUE!
[7 empty] | 18.38 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | Residual variances
(Now using 3.2.5 in Draper&Smith for calculating confidence limits) | [6 empty] | 19.87 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | Linear | #REF!
X | Est. Y | 95 % konf. Interval |  | 99 % konf interval |  |  | 21.36 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | Quadratic | #VALUE!
0 | 39.7418 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 22.85 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 24.34 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | F/F | #REF! | Krit F-værdi | 1.4883
Y | Est. X | 95 % konf. Interval |  | 99 % konf interval |  |  | 25.83 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | #REF!
0 | 3417.4678 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 27.32 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 28.81 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 30.3 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 31.79 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
målt Y | Repl. | Est. X | 95 % konf. Interval |  | 99 % konf interval |  | 33.28 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
327000 | 6 | -28115903.666 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 34.77 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 36.26 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 37.75 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 39.24 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 40.73 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 42.22 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 43.71 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 45.2 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 46.69 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 48.18 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 49.67 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 51.16 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 52.65 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 54.14 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 55.63 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 57.12 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 58.61 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 60.1 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 61.59 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 63.08 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 64.57 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 66.06 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 67.55 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 69.04 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 70.53 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 72.02 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 73.51 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | 75 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!