## data_and_report
Data | Identification | Testdata | [7 empty] | Repeatability
| Replicates | Concentration | Response | [6 empty] | Mean | SD | RSD (%)
Level 1 | 6 | 2.5e-07 | 15045.67 | 15436.67 | 14867.67 | 15524.67 | 15143.67 | 14858.67 |  | 15146.17 | 282.1267 | 1.8627
| Measurement no. |  | 5 | 6 | 9 | 13 | 17 | 18
Level 2 | 2 | 1.5e-06 | 94561.67 | 96231.67
| Measurement no. |  | 3 | 22
Level 3 | 6 | 2.5e-06 | 154831.7 | 158151.7 | 150711.7 | 148101.7 | 155031.7 | 179401.7 |  | 157705.0333 | 11202.4848 | 7.1034
| Measurement no. |  | 7 | 12 | 14 | 15 | 16 | 19
Level 4 | 2 | 3.75e-06 | 234651.7 | 230971.7
| Measurement no. |  | 2 | 4
Leve l5 | 6 | 5e-06 | 327371.7 | 303621.7 | 301951.7 | 314321.7 | 333461.7 | 335451.7 |  | 319363.3667 | 14819.6861 | 4.6404
| Measurement no. |  | 1 | 8 | 10 | 11 | 20 | 21
Number of Meas. | 22 | Conc. Unit | Areal
Confidense Intervals (+/-)
|  | Standard dev. | 95% | 99% |  | Estimated Y-value for X=0
Slope | 63844744200.9987 | 1527497049.1444 | 3701303364.3897 | 4816810008.7851 |  | X | Est. Y | 95 % konf. Interval |  | 99 % konf interval
Intercept | -1338.4663 | 4835.8557 | 11717.842 | 15249.3901 |  | 0 | -1338.4663 | -26773.4755 | 24096.5429 | -34439.1325 | 31762.1998
R^2 | 0.9828
R | 0.99137 |  |  |  |  | Estimated X-value for Y=0
Significance of regression |  | Propability that slope is 0 |  |  |  | Y | Est. X | 95 % konf. Interval |  | 99 % konf interval
F-test | 3282.9876 | 7.925e-22 |  |  |  | 0 | 2.0964e-08 | -2.0225e-07 | 2.4417e-07 | -2.6952e-07 | 2.4417e-07
Control of LOD and LOQ
Based on: | Slope |  | Lowest standard |  | *
LOQ = | 1.4893e-06 | Conc. Unit | 4.6567e-08 | Conc. Unit | Criterium: Signal = |  | 10 | *Noise
LOD = | 4.4679e-07 | Conc. Unit | 1.5367e-08 | Conc. Unit | Criterium: Signal = |  | 3.3 | *Noise
Note on I4: CC: d
Note on H12: CC: d
Note on I12: CC: dm_22

## Residual plots
Unweighed residual plots | Concentrationweighed residual plots

## Measured data
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
1 | 327000 | 327000 | 6 | 5.1428e-06 | 4.9203e-06 | 5.3653e-06 | 4.8532e-06 | 5.4323e-06
| 327000 |  |  |  | -2.2251e-07 | 2.2251e-07 | -2.8957e-07 | 2.8957e-07
327000
327000
327000
327000
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Data point | Response | Mean | Replicates | Est. X | 95 % conf. Interval |  | 99 % conf interval
|  | #DIV/0! | 0 | 2.0964e-08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## InterDay
Intermdediate Reproducibilitry, Inter Day |  |  |  | We assume that the standard deviations for each Control sample is the samer Iter Day
Control 1 | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval |  |  | Sd | N
| 15045.67 | 15146.17 | 6 | 2.3728e-07 | 2.2235e-08 | 4.5232e-07 | -4.2575e-08 | 5.1713e-07 |  | 4.419e-09 | 6 | 2.357e-07
| 15436.67 |  |  |  | -2.1504e-07 | 2.1504e-07 | -2.7985e-07 | 2.7985e-07 |  |  |  | 2.4183e-07
| 14867.67 | [10 empty] | 2.3292e-07
| 15524.67 | [10 empty] | 2.4321e-07
| 15143.67 | [10 empty] | 2.3724e-07
| 14858.67 | [10 empty] | 2.3277e-07
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
| Is Control 1 and Control 2 significantly different ? |  |  |  | t value | t-crit 95 % | Dif 95 % | F-crit 99 % | Dif 99 % | DF numer | s-poled
[5 empty] | 9.8541 | 2.2281 | Yes | 3.1693 | Yes | 10 | 3.9247e-07
Control 2 | Målte data | Middelværdi | replikater | Est. X | 95 % konf. Interval |  | 99 % konf interval |  |  | Sd | N
| 154831.7 | 157705.0333 | 6 | 2.4702e-06 | 2.3038e-06 | 2.6365e-06 | 2.2537e-06 | 2.6867e-06 |  | 1.7546e-07 | 6 | 2.4252e-06
| 158151.7 |  |  |  | -1.6636e-07 | 1.6636e-07 | -2.1649e-07 | 2.1649e-07 |  |  |  | 2.4772e-06
| 150711.7 | [10 empty] | 2.3606e-06
| 148101.7 | [10 empty] | 2.3198e-06
| 155031.7 | [10 empty] | 2.4283e-06
| 179401.7 | [10 empty] | 2.81e-06
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
| Is Control 1 and Control 2 significantly different ? |  |  |  | t value | t-crit 95 % | Dif 95 % | F-crit 99 % | Dif 99 % | DF numer | s-poled
[5 empty] | 6.5757 | 2.2281 | Yes | 3.1693 | Yes | 10 | 6.5065e-07
|  |  |  | Est. X | 95 % konf. Interval
Control 3 | Målte data | Middelværdi | replikater | 5.0022e-06 | 4.7851e-06 | 5.2194e-06 | 99 % konf interval |  |  | Sd | N
| 327371.7 | 319363.3667 | 6 |  | -2.1718e-07 | 2.1718e-07 | 4.7196e-06 | 5.2849e-06 |  | 2.3212e-07 | 6 | 5.1277e-06
| 303621.7 | [5 empty] | -2.8263e-07 | 2.8263e-07 |  |  |  | 4.7557e-06
| 301951.7 | [10 empty] | 4.7295e-06
| 314321.7 | [10 empty] | 4.9233e-06
| 333461.7 | [10 empty] | 5.2231e-06
| 335451.7 | [10 empty] | 5.2542e-06
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
Vægtede residualer

## Control of Calibration
Data | Identification = | Testdata |  |  |  |  | Repeatability
| Replikater | Koncentration | Respons2 |  |  |  | Mean | SD | RSD (%)
Control1 | 3 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Måling nr. |  | 1 | 2 | 3
Control2 | 3 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Måling nr. |  | 4 | 5 | 6
Control3 | 3 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
| Måling nr. |  | 7 | 8 | 9
Number of measurements | 9 | Conc. Unit | Areal
|  |  | Konfidence intervals (+/-) |  |  | Using this: | 0
|  | Standard dev. | 95% | 99% |  | Responsfaktor=
Slope | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Not using control
Intercept | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Bruge (1=ja, 0=nej)
R^2 | 0.9828 |  |  |  |  | 0
R | 0.99137 |  |  |  |  | Slope to use = |  | 63844744200.9987
Significance of regression |  | Probability that slope is 0
F-test | #DIV/0! | #DIV/0!
Control of LOD and LOQ
| Slope |  | Lovest standard |  | *
LOQ = | #DIV/0! | Conc. Unit | #DIV/0! | Conc. Unit | Criterium: Signal = |  | 10 | *Noise
LOD = | #DIV/0! | Conc. Unit | #DIV/0! | Conc. Unit | Criterium: Signal = |  | 3.3 | *Noise
Kontrol af Kalibrering | [14 empty] | Vægtede residualer
X | X^2 | Y | Y^2 | X*Y | X-<X> | (X-<X>)^2 | Y-<Y> | (Y-<Y>)^2 | Y estd | Ye-<Y> | (Ye-<Y>)^2 | Residualer | Res^2 | Måling nr. | ResV
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 2 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 3 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 4 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 5 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 6 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 7 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 8 | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 9 | #DIV/0!
0 |  | 0 |  | 0 |  |  |  |  | #DIV/0!
9 | [6 empty] | kXstart = | 0
kdfree = | 7 | ktval_95 | 2.8412 |  |  |  | kXstop = | 0
kS_xy = | 0 | ktval_99 | 4.0293 |  |  |  | X_detail | Nedre 95% konfidens interval | Øvre 95% konfidens interval | Nedre 99% konfidens interval | Øvre 99% konfidens interval
kS_xx = | 0 | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kS_yy = | 0 | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kS_yyestd = | #DIV/0! | = kMS_reg |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kSumSquares = | #DIV/0! | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kSsquare = | #DIV/0! | ksqrtsquare = | #DIV/0! |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
ksvalue | #DIV/0! | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kSumxsquare | 0 | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kSumysquare | 0 | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kGværdi (95%) | #DIV/0! | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
kGværdi (99%) | #DIV/0! | [5 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Tekster til legend i plot | [6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Målte data | [6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Lineær regression | [6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Meandata | [6 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
<X> | <Y> | Std_exp |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | #DIV/0! |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | #DIV/0! |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | 0 | #DIV/0! |  |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Formulas_and_calculations
Midlertidige data | [11 empty] | Vægtede residualer
X | Y | X*Y | X-<X> | Y-<Y> | Y estd | Ye-<Y> | Residualer | Res^2 | Måling nr. | ResV
2.5e-07 | 15045.67 | 0.0037614 | -2.3409e-06 | -149031.7918 | 14622.7197 | -149454.7421 | 422.9503 | 178886.9467 | 5 | 1691801154.8061
2.5e-07 | 15436.67 | 0.0038592 | -2.3409e-06 | -148640.7918 | 14622.7197 | -149454.7421 | 813.9503 | 662515.0725 | 6 | 3255801154.8061
2.5e-07 | 14867.67 | 0.0037169 | -2.3409e-06 | -149209.7918 | 14622.7197 | -149454.7421 | 244.9503 | 60000.6439 | 9 | 979801154.8061
2.5e-07 | 15524.67 | 0.0038812 | -2.3409e-06 | -148552.7918 | 14622.7197 | -149454.7421 | 901.9503 | 813514.3233 | 13 | 3607801154.8061
2.5e-07 | 15143.67 | 0.0037859 | -2.3409e-06 | -148933.7918 | 14622.7197 | -149454.7421 | 520.9503 | 271389.2033 | 17 | 2083801154.8061
2.5e-07 | 14858.67 | 0.0037147 | -2.3409e-06 | -149218.7918 | 14622.7197 | -149454.7421 | 235.9503 | 55672.5387 | 18 | 943801154.8061
1.5e-06 | 94561.67 | 0.14184 | -1.0909e-06 | -69515.7918 | 94428.65 | -69648.8119 | 133.02 | 17694.3304 | 3 | 88680024.9687
1.5e-06 | 96231.67 | 0.14435 | -1.0909e-06 | -67845.7918 | 94428.65 | -69648.8119 | 1803.02 | 3250881.2555 | 22 | 1202013358.3021
2.5e-06 | 154831.7 | 0.38708 | -9.0909e-08 | -9245.7618 | 158273.3942 | -5804.0677 | -3441.6942 | 11845258.7154 | 7 | -1376677665.4182
2.5e-06 | 158151.7 | 0.39538 | -9.0909e-08 | -5925.7618 | 158273.3942 | -5804.0677 | -121.6942 | 14809.4694 | 12 | -48677665.4182
2.5e-06 | 150711.7 | 0.37678 | -9.0909e-08 | -13365.7618 | 158273.3942 | -5804.0677 | -7561.6942 | 57179218.623 | 14 | -3024677665.4182
2.5e-06 | 148101.7 | 0.37025 | -9.0909e-08 | -15975.7618 | 158273.3942 | -5804.0677 | -10171.6942 | 103463362.1567 | 15 | -4068677665.4182
2.5e-06 | 155031.7 | 0.38758 | -9.0909e-08 | -9045.7618 | 158273.3942 | -5804.0677 | -3241.6942 | 10508581.05 | 16 | -1296677665.4182
2.5e-06 | 179401.7 | 0.4485 | -9.0909e-08 | 15324.2382 | 158273.3942 | -5804.0677 | 21128.3058 | 446405307.5188 | 19 | 8451322334.5818
3.75e-06 | 234651.7 | 0.87994 | 1.1591e-06 | 70574.2382 | 238079.3244 | 74001.8626 | -3427.6244 | 11748609.1289 | 2 | -914033177.2784
3.75e-06 | 230971.7 | 0.86614 | 1.1591e-06 | 66894.2382 | 238079.3244 | 74001.8626 | -7107.6244 | 50518324.8218 | 4 | -1895366510.6117
5e-06 | 327371.7 | 1.6369 | 2.4091e-06 | 163294.2382 | 317885.2547 | 153807.7928 | 9486.4453 | 89992645.0742 | 1 | 1897289066.7915
5e-06 | 303621.7 | 1.5181 | 2.4091e-06 | 139544.2382 | 317885.2547 | 153807.7928 | -14263.5547 | 203448991.7112 | 8 | -2852710933.2085
5e-06 | 301951.7 | 1.5098 | 2.4091e-06 | 137874.2382 | 317885.2547 | 153807.7928 | -15933.5547 | 253878164.2958 | 10 | -3186710933.2085
5e-06 | 314321.7 | 1.5716 | 2.4091e-06 | 150244.2382 | 317885.2547 | 153807.7928 | -3563.5547 | 12698921.8579 | 11 | -712710933.2085
5e-06 | 333461.7 | 1.6673 | 2.4091e-06 | 169384.2382 | 317885.2547 | 153807.7928 | 15576.4453 | 242625649.2418 | 20 | 3115289066.7915
5e-06 | 335451.7 | 1.6773 | 2.4091e-06 | 171374.2382 | 317885.2547 | 153807.7928 | 17566.4453 | 308580001.6709 | 21 | 3513289066.7915
2.5909e-06 | 164077.4618 | 0.63643 |  |  | 164077.4618
22 | [6 empty] | Xstart = | 2.5e-07
dfree = | 20 | tval_95 | 2.4231 | Slope = | 63844744200.9987 |  | Xstop = | 5e-06
S_xy = | 4.6491 | tval_99 | 3.1534 | Intercept = | -1338.4663 |  | X_detail | Nedre 95% konfidens interval | Øvre 95% konfidens interval | Nedre 99% konfidens interval | Øvre 99% konfidens interval
S_xx = | 3.8749e-11 | [5 empty] | 2.5e-07 | -10478.0502 | 39723.4896 | -18042.9734 | 47288.4128
S_yy = | 160710128017.4157 |  |  |  | Resultat |  | 3.45e-07 | -4293.604 | 45669.5448 | -11822.6038 | 53198.5446
S_yyestd = | 157946654380.8574 | = MS_reg |  | Std slope = | 1114270232.9638 |  | 4.4e-07 | 1886.4411 | 51620.0012 | -5607.9618 | 59114.404
SumSquares = | 1808218399.6499 |  |  | Std intercept = | 3527.6337 |  | 5.35e-07 | 8062.0238 | 57574.9198 | 600.8731 | 65036.0705
Ssquare = | 90410919.9825 | sqrtsquare = | 9508.4657 | Std regression = | 9508.4657 |  | 6.3e-07 | 14233.0843 | 63534.3607 | 6803.8228 | 70963.6222
svalue | 9508.4657 |  |  | R^2 = | 0.99394 |  | 7.25e-07 | 20399.5641 | 69498.3823 | 13000.8112 | 76897.1352
Sumxsquare | 2.205e-10 |  |  | R = | 0.99697 |  | 8.2e-07 | 26561.4063 | 75467.0416 | 19191.7643 | 82836.6835
Sumysquare | 890897245890.1512 |  |  | F value for reg. | 3282.9876 |  | 9.15e-07 | 32718.5556 | 81440.3936 | 25376.6103 | 88782.3389
Gværdi (95%) | 5.0464e-24 | [5 empty] | 1.01e-06 | 38870.9589 | 87418.4917 | 31555.2798 | 94734.1708
Gværdi (99%) | 8.5465e-24 | [5 empty] | 1.105e-06 | 45018.5649 | 93401.3871 | 37727.7062 | 100692.2458
[7 empty] | 1.2e-06 | 51161.3243 | 99389.1291 | 43893.8253 | 106656.6281
Text for legend in plot | [6 empty] | 1.295e-06 | 57299.1903 | 105381.7645 | 50053.5763 | 112627.3785
Measured Data | [6 empty] | 1.39e-06 | 63432.1184 | 111379.3378 | 56206.9012 | 118604.555
Linear regression | [6 empty] | 1.485e-06 | 69560.0667 | 117381.8909 | 62353.7454 | 124588.2122
[7 empty] | 1.58e-06 | 75682.996 | 123389.463 | 68494.058 | 130578.401
(Now using 3.2.5 in Drape&Smith for calculating confidence limits) | [6 empty] | 1.675e-06 | 81800.8697 | 129402.0907 | 74627.7914 | 136575.169
X | Est. Y | 95 % konf. Interval |  | 99 % konf interval |  |  | 1.77e-06 | 87913.6543 | 135419.8075 | 80754.9018 | 142578.56
0 | -1338.4663 | -26773.4755 | 24096.5429 | -34439.1325 | 31762.1998 |  | 1.865e-06 | 94021.3191 | 141442.6441 | 86875.3494 | 148588.6137
[7 empty] | 1.96e-06 | 100123.8366 | 147470.628 | 92989.0985 | 154605.3661
Y | Est. X | 95 % konf. Interval |  | 99 % konf interval |  |  | 2.055e-06 | 106221.1825 | 153503.7835 | 99096.1173 | 160628.8486
0 | 2.0964e-08 | -2.0225e-07 | 2.4417e-07 | -2.6952e-07 | 2.4417e-07 |  | 2.15e-06 | 112313.3357 | 159542.1317 | 105196.3785 | 166659.0889
[7 empty] | 2.245e-06 | 118400.2784 | 165585.6903 | 111289.8588 | 172696.11
[7 empty] | 2.34e-06 | 124481.9963 | 171634.4739 | 117376.5395 | 178739.9306
[7 empty] | 2.435e-06 | 130558.4784 | 177688.4932 | 123456.4065 | 184790.5651
målt Y | Repl. | Est. X | 95 % konf. Interval |  | 99 % konf interval |  | 2.53e-06 | 136629.7171 | 183747.7559 | 129529.45 | 190848.023
327000 | 6 | 5.1428e-06 | 4.9203e-06 | 5.3653e-06 | 4.8532e-06 | 5.4323e-06 | 2.625e-06 | 142695.7086 | 189812.2658 | 135595.6647 | 196912.3097
[7 empty] | 2.72e-06 | 148756.4523 | 195882.0235 | 141655.05 | 202983.4257
[7 empty] | 2.815e-06 | 154811.9512 | 201957.026 | 147707.6099 | 209061.3672
[7 empty] | 2.91e-06 | 160862.2118 | 208037.2668 | 153753.3528 | 215146.1258
[7 empty] | 3.005e-06 | 166907.2441 | 214122.7359 | 159792.2917 | 221237.6883
[7 empty] | 3.1e-06 | 172947.0616 | 220213.4198 | 165824.444 | 227336.0374
[7 empty] | 3.195e-06 | 178981.681 | 226309.3018 | 171849.8317 | 233441.1511
[7 empty] | 3.29e-06 | 185011.1224 | 232410.3617 | 177868.4809 | 239553.0033
[7 empty] | 3.385e-06 | 191035.4094 | 238516.5761 | 183880.4222 | 245671.5634
[7 empty] | 3.48e-06 | 197054.5686 | 244627.9184 | 189885.6902 | 251796.7968
[7 empty] | 3.575e-06 | 203068.6297 | 250744.3587 | 195884.3236 | 257928.6648
[7 empty] | 3.67e-06 | 209077.6254 | 256865.8644 | 201876.365 | 264067.1247
[7 empty] | 3.765e-06 | 215081.5914 | 262992.3997 | 207861.861 | 270212.1301
[7 empty] | 3.86e-06 | 221080.5663 | 269123.9262 | 213840.8616 | 276363.631
[7 empty] | 3.955e-06 | 227074.5913 | 275260.4027 | 219813.4204 | 282521.5736
[7 empty] | 4.05e-06 | 233063.71 | 281401.7853 | 225779.5943 | 288685.9011
[7 empty] | 4.145e-06 | 239047.9688 | 287548.028 | 231739.4435 | 294856.5532
[7 empty] | 4.24e-06 | 245027.416 | 293699.0821 | 237693.0312 | 301033.467
[7 empty] | 4.335e-06 | 251002.1025 | 299854.897 | 243640.4232 | 307216.5763
[7 empty] | 4.43e-06 | 256972.081 | 306015.4199 | 249581.6884 | 313405.8126
[7 empty] | 4.525e-06 | 262937.4061 | 312180.5962 | 255516.8977 | 319601.1046
[7 empty] | 4.62e-06 | 268898.1343 | 318350.3694 | 261446.1246 | 325802.3791
[7 empty] | 4.715e-06 | 274854.3236 | 324524.6816 | 267369.4447 | 332009.5604
[7 empty] | 4.81e-06 | 280806.0334 | 330703.4731 | 273286.9354 | 338222.5711
[7 empty] | 4.905e-06 | 286753.3248 | 336886.6832 | 279198.6759 | 344441.332
[7 empty] | 5e-06 | 292696.2597 | 343074.2497 | 285104.747 | 350665.7623